## Slide 1: ‪CTG Interpretation
Dr.Bodoor Alshareef

## Slide 2: DR C BRAVADO
Determine Risk
Contraction
Baseline Rate
Variability
Acceleration
Deceleration
Overall assessment

## Slide 3: Uterine contractions
Uterine contractions are quantified as the number of contractions present in a 10-minute window, averaged over a 30-minute period.
Normal: five contractions or less in 10 minutes, averaged over a 30-minute window
Tachysystole: more than five contractions in 10 minutes, averaged over a 30-minute window

## Slide 5: Tachysystole

## Slide 6: Electronic Fetal Monitoring Definitions
Baseline
• Normal FHR baseline: 110–160 beats per minute • Tachycardia: FHR baseline is greater than 160 beats per minute for >10 min
• Bradycardia: FHR baseline is less than 110 beats per minute for >10 minute

## Slide 8: Bradycardia

## Slide 11: Baseline variability
Minor Fluctuations in the baseline FHR that are irregular in amplitude and frequency
It is assessed by by estimating the difference in bpm between the highest peak and lowest trough of fluctuation in one minute segment of trace .
Moderate variability amplitude range 5–25 beats per minute .
Minimal variability less than 5bpm.
Marked variability more than 25bpm.
Absent .

## Slide 16: Acceleration
Abrupt increase in the FHR
At 32 weeks of gestation and beyond, an acceleration has a peak of 15 beats per minute or more above baseline, with a duration of 15 seconds or more.

## Slide 18: Non-Reactive NST

## Slide 19: Decelerations
transient slowing of FHR below the baseline level of more than 15 bpm and lasting for 15 sec Or more.

## Slide 20: Early deceleration (head compression)
• Visually apparent usually symmetrical gradual decrease and return of the FHR associated with a uterine contraction .
• A gradual FHR decrease is defined as from the onset to the FHR nadir of 30 seconds or more.

## Slide 21: Early deceleration

## Slide 22: Late deceleration
Visually apparent usually symmetrical gradual decrease with return to baseline
Onset to nadir >30 second
The onset, nadir, and recovery of the deceleration occur after the beginning, peak, and ending of the contraction, respectively.

## Slide 23: Late Decelerations
  Due to uteroplacental insufficiency
  Common in patients with PIH, DM, IUGR or other form of placental insufficiency.
  Reduces Baseline variability together with Late Decelerations or Variable Decelerations is associated with increased risk of CP.

## Slide 24: Late deceleration

## Slide 25: Variable deceleration
Vary in duration , intensity and relation to uterine contractions,
Visually apparent abrupt decrease in FHR
Onset to nadir <30 second
Decrease in FHR is 15 bpm or more lasting for 15 second but less than 2 minute .
Caused by cord compression

## Slide 27: Prolonged deceleration
Any deceleration 15 bpm or more below the baseline that last 2 minute or more but less than 10 minute

## Slide 28: Sinusoidal Pattern
Visually apparent, smooth, wave-like above and below FHR baseline with a cycle frequency of 3–5 per minute
when persists for 20 minutes or more. (Role out narcotic induced)
Causes: fetal anaemia ( Rh isoimmunisation, fetal haemorrhage)

## Slide 30: O-overall assessment
Category 1 – no risk
Category II – intermediate risk
Category III – HIGH RISK

## Slide 31: Category I
Include all of the following:
-Baseline rate:110–160 beats/minute -Baseline FHR variability: moderate -Late or variable decelerations: absent
-Early decelerations: present or absent
- Accelerations: present or absent

## Slide 33: Category II
FHR tracings include any of the following: Tachycardia
Baseline FHR with Absent or minimal or marked variability.
Absence induced Accelerations after fetal stimulation
Recurrent (late or variable) decelerations with moderate variability

## Slide 34: Category II

## Slide 35: Category III
Category III FHR tracings include either
  Absent baseline FHR variability and any of the following:
  Recurrent late decelerations
  Recurrent variable decelerations
  Bradycardia
  Sinusoidal pattern

## Slide 36: Management
CTG is normal/ reassuring/category 1
- Healthy fetus
--- Continue CTG and normal care.

## Slide 37: non- reassuring/category 2
Think about possible underlying causes.
If the baseline fetal heart rate is over 160 beats/minute, check the woman’s temperature and pulse. If either are raised, offer fluids and paracetamol.
Noninvasive Management
a left-lateral position, rule out cord prolapse
Give O2 to mother
offer oral or intravenous fluids
Discontinue oxytocin until the FHR and uterine activity become normal.
Vibroacoustic stimulation (VAS) or fetal scalp stimulation (if reduce variability and or no acceleration)
Tocolytic agents: Beta-adrenergic agonists (e.g., terbutaline, subcutaneously can be administered g to decrease uterine activity in the presence of uterine tachysystole.
Inform coordinating midwife and obstetrician.

## Slide 38: non- reassuring/category 2
Invasive Management
Amniotomy: If the FHR cannot be monitored adequately externally, an amniotomy should be performed to place internal monitors.
Fetal scalp electrode (FSE).
(contraindicated in cases of fetal coagulopathy or maternal infections such as HIV, active herpes simplex virus, and hepatitis B or C).

## Slide 39
Fetal scalp blood pH: Determination of fetal scalp blood pH can clarify the acid-base state of the fetus.
-A pH value of 7.25 or higher is normal.
-A pH range of 7.20 to 7.24 is a borderline repeat in 30 minute .
-A pH of <7.20 on two measurements 5 to 10 minutes apart may indicate sufficient fetal acidosis to warrant immediate delivery

## Slide 40: category 3 is abnormal indicates need for urgent intervention

## Slide 47: Thank you