## Slide 1: Orthopedic Implants and Splints
Dr. Tarif Alakhras /
Prof. Mamoun Kremli /

## Slide 2: Implants

## Slide 3: K-wire (Kirschner Wire)
Indications:
  Fixation of Pediatric fractures
  Small bone fractures in adults
Advantages:
  Easy to apply
  Easy to remove
Disadvantages/Problems:
  Not stable alone
  Infection if end left outside skin
http://www.ijhas.in/article.asp?issn=2278-344X;year=2013;volume=2;issue=1;spage=23;epage=29;aulast=Madhukar

## Slide 4: Tension-band wires
Indications:
  Patellar and olecranon fractures
  Possible to use in malleolar fractures
Application:
  K-wires, then tension-band wire

## Slide 5: Tension-band wires
Indications:
  Patellar and olecranon fractures
  Possible to use in malleolar fractures
Application:
  K-wires, then tension-band wire

## Slide 6: Orthopedic screws
Usually made of stainless steel or Titanium
Thread design varies according to type of bone to be fixed
  Cortex screw:
    Smaller threads
    Smaller distance between threads
  Cancellous screws::
    Larger threads
    Larger distance between threads
Cortical
Cancellous

## Slide 7: Orthopedic screws
All screws come in different sizes and different lengths

## Slide 8: Orthopedic screws
Cortex and Cancellous screws can be Fully threaded or partially threaded
Fully threaded:
  Provides purchase (holds)
Partially threaded:
  Provide lagging (compression)

## Slide 9: Partially-threaded Screws
Work as lag screw to achieve compression across a fracture site
Fully threaded screws can achieve compression if cortex near screw head is over-drilled
http://cal.vet.upenn.edu/projects/orthopod/csfr/terms/screws.htm

## Slide 10: Cannulated Screws
Screws are hollow to be inserted over a wire
  Makes insertion of screw more accurate in minimally invasive techniques

## Slide 11: Locked-head Screws
Screw heads are threaded
  Hold to the plate and to the bone
Used with special plates with threaded screw holes
  Advantage in osteoporotic bone
  Plate does not press on bone
    Does not disturb periosteal blood supply

## Slide 12: Plate and Screws
Indications:
  Metaphyseal fractures
  Forearm fractures
  Long bone fractures
    Complex fractures
    Alternative to IMN
Advantages:
  Anatomical reduction
Disadvantages:
  Does not allow early weight-bearing
  Exposure of fracture and fracture hematoma
https://www.canstockphoto.com/orthopedic-implant-plates-and-screw-on-12307967.html

## Slide 13: Plate and Screws
Plates come in different sizes, lengths, and shapes
The plate may have several functions:
  Compression
  Bridging
  Protection
  Buttress

## Slide 14: Dynamic compression plate DCP
Characterized by oval halls
it is designed to exert dynamic pressure between the fragments of fracture to be transfixed to provide absolute stability
Used for simple diaphyseal fractures
https://www2.med.wayne.edu/diag

## Slide 15: Bridging plate
Provides relative stable fixation
Achieving correct length, alignment, and rotation
The fracture site is left undisturbed
Ordinary Round-hole plate

## Slide 16: Bridging plate
Semi-tubular Plate
Designed in the shape of half tube
Indications:
  Fixation of lateral malleolus / fibula
  Metacarpals / Metatarsals
http://rrsurgicals.com/bone-plates.html

## Slide 17: Locked Compression Plate (LCP)
Has a combination hole:
  Oval hole for compression or ordinary screw
  Serrated hole for locked-head screws
https://www.indiamart.com/proddetail/locking-compression-plate-1225990797.html

## Slide 18: Locked Compression Plate (LCP)
Advantages of a locked-head screw:
  Plate fixation more resistant to failure from screw loosening and pullout
  Very good fixation in osteoporotic bone
  Plate does not press on bone
    Does not disturb periosteal blood supply
Indications:
  Fracture of osteoporotic bone
  Bridging severely comminuted fractures
https://www.indiamart.com/proddetail/locking-compression-plate-1225990797.html

## Slide 19: Buttress Plate (T-Plate / L-Plate)
Indications:
  Lateral or medial tibial plateau fractures
  Distal radius fractures
http://plate.prissy.us/internal-fixation-plate/
http://www.orthopaediclist.com/product/implant-66.html

## Slide 20: Anatomical plates with Locked Screws
Indications
  Metaphyseal fractures
Advantages
  Anatomically contoured
  Very good fixation in metaphyseal area and osteoporotic bone

## Slide 21: Dynamic hip screw DHS
Indications:
  Fixation of intertrochanteric fractures
http://orthopedicsurgeryarticles.blogspot.com/

## Slide 22: Inter-locking Nail
Indications:
  Treatment of fractures of long bones
Advantages:
  Minimally invasive
  Does not disturb fracture hematoma
  Allows early weight-bearing on LL
Femoral Interlocking Nail
https://gunaceblogs.wordpress.com/interlocking-nail/

## Slide 23: Inter-locking Nail
Indications:
  Treatment of fractures of long bones
Advantages:
  Minimally invasive
  Does not disturb fracture hematoma
  Allows early weight-bearing on LL
http://www.medicalexpo.com
Tibial Interlocking Nail

## Slide 24: Orthopedic Staples
Indications:
  Foot surgery
  Epiphysiodesis to correct lower limb deformity
https://www.podiatrytoday.com/does-new-nitinol-staple-redefine-reliable-compression

## Slide 25: Splints

## Slide 26: Figure-of-8 Brace
Indication:
  For immobilization of clavicle fractures
Application
  Wearing the figure of eight bandage should be done with the shoulder pressing back in an arch position.
  Can use ready-made figure-of-8 brace

## Slide 27: Figure-of-8 Brace
Indication:
  For immobilization of clavicle fractures
Application
  Wearing the figure of eight bandage should be done with the shoulder pressing back in an arch position
  Can use foam-sling to make afigure-of-8

## Slide 28: Arm Sling
Indications:
  Shoulder support in shoulder and clavicle injuries
  Forearm support (in cast)
Applications:
  Shoulder adducted, elbow flexed 90° and wrist at neutral position
  The sling supports the elbow and overcomes gravity

## Slide 29: Arm Sling with shoulder immobilizer
Indications:
  Shoulder support after major surgeries
Applications:
  Shoulder adducted, elbow flexed 90° and wrist at neutral position
  The sling supports the shoulder by applying the waist sling keeping the shoulder adducted
https://www.carolinabrace.com

## Slide 30: Forearm Sling
Indications:
  Support in humerus fractures (allowing traction by gravity)
  Forearm support (in cast)
Applications:
  Shoulder adducted
  Elbow not supported to allow gravity to pull down on humerus
http://myorthoclinic.com
https://www.medical-world.co.uk

## Slide 31: Back Supports
Indications:
  Limiting motion of the spine to enhance healing (after surgery or in stable fractures)
  Reduces back pain and discomfort (in back sprains and muscle pain)
Types:
  Soft or more rigid with rods
  Thoraco-lumbar , lumbar , lumbo-sacral
Precaution:
  Long-term use causes weakness of muscles

## Slide 32: Soft Cervical Collar
Indications:
  Provides partial support of cervical spine and neck muscles
    Muscle spasm
    Post operative
    Nerve root entrapment syndrome in the cervical spine
Applications:
  Choose proper size (height and length)
  Apply reasonably tightly under the chin
Precaution:
  Long-term use causes weakness of muscles

## Slide 33: Rigid Cervical Collar
Indications:
  Used in trauma emergency when suspecting neck injuries
    Head or facial / forehead injuries
    Neck pain
    Unconscious patients
Application:
  Adjust to proper height
  Use traction to support the neck while applying
  Apply around the neck, with chin piece fitting well under chin
  Opening anterior for possible tracheostomy

## Slide 34: Rigid Cervical Collar
Application:
  Adjust to proper height
  Use traction to support the neck while applying
  Apply around the neck, with chin piece fitting well under chin
  Opening anterior for possible tracheostomy
https://www.youtube.com/watch?v=mdeExV26nts

## Slide 35: Knee Immobilizer
Contains metal rods to completely immobilize the knee
Indications:
  Immediate after knee injuries
    Instability, patellar fractures, haemarthrosis
  Post knee surgery
Applications:
  Apply with the wider end on upper thigh
  Make sure the opening of the support is on the patella
  Apply tightly from up downwards

## Slide 36: Hinged Knee Splint
Supports and stabilizes an injured knee (prevent varus and valgus movements)
Allows flexion and extension (hinged metal supports on sides)
Indications:
  Used in collateral ligament injuries

## Slide 37: Malleable Finger Splints
Indications:
  Phalangeal fractures
  Sprained interphalangeal joints
Applications:
  Flexion of MCP joint and extension of interphalangeal joints

## Slide 38: Mallet Finger Splint
Indications:
  Mallet finger injury (rupture/avulsion of extensor tendon at the distal phalanx)
Application:
  The finger must be fully extended in the DIPJ

## Slide 39: Wrist splint
Indications:
  Wrist support after minor soft tissue injuries and sprains
  Wrist immobilization for carpal tunnel syndrome (before and after surgery)
  Temporary intermittent support after cast removal post fractures
Application:
  Rigid/metal part with a bend at volar aspect – wrist immobilized in position of slight dorsiflexion

## Slide 40: Thumb splint
Indications:
  Thumb support after minor soft tissue injuries and sprains
  In Tenosynovitis Immobilizing thumb to reduce pain and inflammation of tendons
Application:
  Rigid/metal part on dorsum of thumb

## Slide 41: Ankle Foot Orthosis (AFO)
Indication:
  Foot support for foot drop
Application
  Wear shoe on top of brace
http://www.chaneco.co.uk
http://www.klmlabs.com

## Slide 42: Silicone Spacer / Splint
Indications
  Adolescent hallux valgus when the main complaint is cosmetic
  Initial treatment choice in mild cases
https://www.groupon.com/
https://www.myfootshop.com
Notes:   Recurrence rate is high  20-40%

## Slide 43: Traction

## Slide 44: Traction
For information on:
  Indications
  Contraindications
  Advantages
  Disadvantages
  Complications
See presentation: “Conservative Treatment of Fractures”

## Slide 45: Skin Traction
Skin traction is used to:
  Treat fractures in children
  Temporary immobilize fractures in adults
  Rest an inflamed hip joint and reduce pain
  Gradually realign a joint (e.g. flexion deformity of hip)

## Slide 46: Skin Traction - Types
Adhesive Non-adhesive Foam

## Slide 47: Application of Skin Traction
Need two persons
  Manual traction by assistant to realign limb and reduce pain

## Slide 48: Application of Skin Traction
The other to apply the skin traction
  Centralize the end piece so that traction pull is correct
  Keep away from heel skin (5cm)
Wrong
Correct
Wrong

## Slide 49: Application of Skin Traction
The other to apply the skin traction
  Centralize the end piece so that traction pull is correct
  Keep away from heel skin (5cm)

## Slide 50: Application of Skin Traction
Smoothly apply traction tape on skin
Apply bandage evenly with 50% overlap, not too tight, not too loose

## Slide 51: Application of Skin Traction
Smoothly apply traction tape on skin
Apply bandage evenly with 50% overlap, not too tight, not too loose

## Slide 52: Application of Skin Traction
Smoothly apply traction tape on skin
Apply bandage evenly with 50% overlap, not too tight, not too loose

## Slide 53: Application of Skin Traction
Smoothly apply traction tape on skin
Apply bandage evenly with 50% overlap, not too tight, not too loose

## Slide 54: Application of Skin Traction
Upper part should stop below level of fracture

## Slide 55: Application of Skin Traction
Upper part should stop below level of fracture
Assistant continues pulling throughout the procedure

## Slide 56: Thomas Splint
Indications:
  Immobilization of femur fractures for
  Transportation of patients
    Apply fixed traction at end of splint

## Slide 57: Thomas Splint
Parts of Thomas splint
  Ring
  Lateral bar (angulated)
  Medial bar
R
L

## Slide 58: Thomas Splint
Complete ring: original design
Half-ring: easier to apply

## Slide 59: Application of Thomas Splint
Prepare splint by adding a bandage or foam pads between the medial and lateral bars
  The lower limb will rest on it

## Slide 60: Application of Thomas Splint
Apply Thomas splint correctly while assistant continues pulling
Angulated bar on lateral side
Wrong

## Slide 61: Application of Thomas Splint
Apply Thomas splint correctly while assistant continues pulling
Angulated bar on lateral side
Correct

## Slide 62: Application of Thomas Splint
Apply Thomas splint correctly while assistant continues pulling
Angulated bar on lateral side

## Slide 63: Application of Thomas Splint
Apply Thomas splint correctly while assistant continues pulling
Angulated bar on lateral side

## Slide 64: Application of Thomas Splint
Apply Thomas splint correctly while assistant continues pulling
Push the ring as high as possible

## Slide 65: Application of Thomas Splint
Pull rope and fix to end of Thomas splint

## Slide 66: Application of Thomas Splint
Pull rope and fix to end of Thomas splint

## Slide 67: Application of Thomas Splint
Pull rope and fix to end of Thomas splint
https://link.springer.com/chapter/10.1007/978-3-642-20641-2_29

## Slide 68: Application of Thomas Splint
Apply pillow under the splint
  Note there is no pressure under the heel

## Slide 69: Application of Thomas Splint
Check tightness of rope

## Slide 70: Traction Splint
The modern traction splint
  Can easily hold LL with straps
  Can easily apply fixed traction

## Slide 71: Skeletal Traction
By inserting a metal (Steinman pin) into the bone and applying traction on it

## Slide 72: Skeletal Traction
Indications:
  When skin traction is contraindicated
  When the weight needed is >10 Lbs. (4.5 Kg)
  When the traction needs to be applied for >3weeks
Advantages:
  Reduces fractures: Regains length and alignment
  Maintains reduction of fractures
  Reduces pain and overcomes muscle spasm

## Slide 73: Skeletal Traction
Entry point - Proximal tibial site:
    Insert pin laterally at a point 2cm distal and 2cm posterior (lateral) to the Tibial tuberosity and exit medially to avoid injury to the common peroneal nerve
2cm
2cm

## Slide 74: Skeletal Traction
Entry point - Distal femoral site:
    Insert pin medially at level of upper patella in-line with mid-femur and exit laterally
      This level avoids popliteal vascular damage and intra-articular injury

## Slide 75: Skeletal Traction - Preparation
Prepare pack with:
    Disinfectant
    Sterile towels
    Needles and Syringe
    Local anesthetic
    Scalpel with pointed blade
    Sharp pointed Steinmann pin
    T-handle
    Stirrup

## Slide 76: Technique
Give adequate sedation if needed
Paint the skin with antiseptic, drape with sterile towels

## Slide 77: Technique
Inject local anesthesia (5 ml of 2% lignocaine) into skin at the proposed site of pin insertion & anticipated exit point down to the periosteum

## Slide 78: Technique
Inject local anesthesia (5 ml of 2% lignocaine) into skin at the proposed site of pin insertion & anticipated exit point down to the periosteum

## Slide 79: Technique
Make a stab incision through the skin with a pointed scalpel
Connect a Steinmann pin in the T-handle (or drill)

## Slide 80: Technique
Insert the pin into the entry point.
As the pin penetrates the far cortex and elevates the skin, make a small stab incision in the overlying skin
http://www0.sun.ac.za/ortho/webct-ortho/general/trac/trac-2.html

## Slide 81: Technique
Insert the pin into the entry point.
As the pin penetrates the far cortex and elevates the skin, make a small stab incision in the overlying skin
http://intranet.tdmu.edu.ua

## Slide 82: Technique
Apply a sterile gauze on the skin around the pin on both sides

## Slide 83: Technique
Apply a stirrup on both ends of the pin, and apply the cord on the stirrup, with weight attached over pulleys at the end of the traction
  (10% of the patient’s body weight)
http://wanderdoc.blogspot.com/2013/05/
http://intranet.tdmu.edu.ua