## Slide 1: Imaging urinary system
Anatomy
Imaging modalities and radiological anatomy
Pathology

## Slide 2: Imaging modalities utilized in UTD
Imaging play role in the diagnosis and management urological diseases, because many urological condition are difficult to be assessed by physical examination
Plain x-rays
IVU
Cystourethrogram
Ultrasound
CT
Radionuclide imaging (NM)
MRI
Angiography

## Slide 3
PLAIN X-RAY
KUB
Indications:
Stone
Hematuria
Lumber pain
Pain abdomen
Mass
Good for evaluation of radiopaque stones
Because KUB sensitivity is proportional to stone size, it is usually only suitable for larger stones.

## Slide 5: IVU: Intravenous urography : is an x-ray examination of the urinary tract consisting of kidneys, ureters and bladder following an injection of contrast into a vein in the arm.
Low osmolar non ionic contrast is used which has fewer complications.
Scout film ( abd. ) , Scout film is also called KUB
  - Preparation/stone
Series of radiograph are taken
  Inject bolus of contrast
  Supine ,oblique , prone upright and post void film are taken
  Prone films to see distal ureters

## Slide 6
Note that calcification can be obscured by contrast medium and stones are missed if no plain film is taken
The major causes of urinary tract calcification include:
Calculi.
Diffuse nephrocalcinosis.
Localized nephrocalcinosis (e.g. tuberculosis or tumours).
Prostatic calcification.
Shows anatomy and functions of the kidneys.

## Slide 7: IVU
Immediate film of the renal areas: AP film of the renal area. Aim to show the nephrogram opacified by contrast in the renal tubules.
Rarely indicated given the broad availability of CT

## Slide 8
Post void film
Prone film

## Slide 9
Cystogram
Indications
Cystitis
Trauma
Tumors
Congenital anomalies
Two route of filling the bladder
As part of IVU

## Slide 10
2. Catheterization and filling the bladder with contrast
Cystogram

## Slide 11: Micturating cystourethrogram
Functional and anatomical evaluation of bladder and urethra. Typically for kids with recurrent UTI
Indications:
Vesicoureteric reflux
Urethral valve
Stress incontinence
Neurogenic bladder
Scout film
Catheter & contrast
Films during filling the bladder
Oblique film
Post void films

## Slide 12: Retrograde urethrogram
Foleys catheter
Injection of contrast into the bladder
Taking films

## Slide 13: Ultrasound
Ultrasound is the first line investigation in most patients,
providing anatomical information without requiring ionizing
radiation or the use of intravenous contrast medium.
Evaluate renal parenchyma, bladder, ureters and prostate.
Can differentiate between solid and cystic mass, identify simple cyst and hydronephrosis.
shows all type of stone
Evaluate congenital anomalies.

## Slide 14
The kidneys should be smooth in outline.
The parenchyma surrounds a central echogenic region, known as the central echo complex (the renal sinus), consisting of the pelvicaliceal system, together with the surrounding fat and renal blood vessels.
The normal pelvicaliceal system is not visible within the renal sinus.
The renal cortex generates homogeneous echoes that are of equal or less reflective than those of the adjacent liver or spleen.
Normal renal ultrasound

## Slide 15
The renal pyramids are seen as triangular hypoechoic areas adjacent to the renal sinus.
The normal adult renal length, measured by ultrasound is 9–12 cm. Renal length varies with age.
Normal ureters are not usually visualized due to overlying bowel gas.
The urinary bladder should be examined in the distended state: the walls should be sharply defined and barely perceptible.
Normal renal ultrasound >>>>>>

## Slide 16
RT

## Slide 17
Ultrasound of Urinary bladder Male

## Slide 18
ULTRASOUND IMAGES OF Bladder in female
Normal ultrasound of the full bladder (B). Note the smooth thin bladder wall. The vagina lies posteriorly (arrow).

## Slide 19: CT scan
Standard CT technique for renal imaging:
IV contrast differentiate pathological process from normal.
Computed tomography of kidneys, ureters and bladder (CT KUB) is a quick non-invasive technique for diagnosis of urolithiasis
CT urography (CTU or CT-IVU) has now largely replaced traditional IVU in imaging the genitourinary tract. It gives both anatomical and functional information.

## Slide 20
Normal CT of kidneys and bladder (a) Before the intravenous contrast has been given. (b)Forty seconds after intravenous contrast infusion (corticomedullary phase) (c) Ten minutes following the contrast infusion(d) Section through the pelvis showing the ureters (arrows) ten minutes after contrast has been given.
(a)
(b)
(c)
(d)

## Slide 21
Magnetic resonance imaging MRI
MRI gives similar anatomical information to CT, with the advantage of being able to obtain scans directly in multiple planes.
It is generally used in selected circumstances, e.g.:
= To demonstrate renal artery stenosis or inferior vena caval extension of renal tumours,
= To clarify problems not solved by ultrasound or CT.
= To assess the extent of bladder or prostate cancer prior to consideration for surgery
Calcification is not visible on MRI, which is one of the main disadvantages of the technique for renal tract imaging.

## Slide 23
Renal arteriogram
Renal arteriography is performed via a catheter introduced into the femoral artery by the Seldinger technique .
Selective injections are made into one or both renal arteries.

## Slide 24: Congenital anomalies
Cross ectopic: Lower kidney is usually ectopic one. In 90% of cases there is fusion of kidneys. There are increase chances of calculus formation.
Horseshoe kidney: Lower pole of both unite in the middle. Prone to trauma
Pelvic kidney: Kidney is located in the pelvis. More prone to trauma.
Duplicate collecting system: Complete/partial

## Slide 25
CT abdomen (with contrast; axial plane)
The lower poles of the kidneys are fused across the midline by an isthmus of enhancing parenchyma .
This is a classic appearance of horseshoe kidney.

## Slide 26: Anomalies Double collecting system
Bifid collecting system. There is a bifid collecting system on the left with the two ureters joining at the level of the transverse process of L5. the left kidney is larger than the right.

## Slide 27
Non-contrast enhanced CT in a patient with crossed fused ectopia, a renal anatomical variant.
Multiple stones were demonstrated (arrows), allowing accurate planning of his lithotripsy treatment.

## Slide 28
Vesicoureteral reflux
Different grades of reflux due to bladder abnormalities.
Neurogenic bladder
Chronic cystitis.
Posterior urethral valve

## Slide 29
MCUG : Two different cases showing reflux. This is due to high pressure in bladder. During micturition, the urine flow upward in to the ureters and kidneys depending upon the grade of reflux
Refluxing megaureter in a voiding cystourethrogram
Contrast-filled, ballooning of the renal pelvicalyceal system (left > right)can be seen, as well as a dilated ureter with numerous kinks. This finding indicates grade V vesicoureteral reflux.

## Slide 30
Nephrocalcinosis: Deposits of calcium in the kidneys parenchyma.
A.Cortical
B. Medullary. This type is more common. The commonest causes are
Hyperparathyroidism
Renal tubular acidosis
Medullary sponge kidneys

## Slide 31: Nephrolithiasis
Symptomatic/asymptomatic: Flank pain hematuria
Most urinary calculi are calcified and show varying density on x-ray examinations.
Only pure uric acid and xanthine stones are radiolucent on plain radiography, but they can be identified at CT or ultrasound.
All renal calculi have high attenuation on CT

## Slide 32
(a)
(b)
(c)
(d)
(a) IVU control film. Renal stones are not visible on the right and are very poorly visualized on the left. (b) IVU following intravenous contrast. Filling defects are seen in the right lower calix and pelvis and in the left upper pole calices . (c, d) CT of the kidneys in the same patient with no contrast medium, reformatted in the coronal plane, demonstrating the renal stones in both the right (c) and left (d) kidneys.

## Slide 33
Obstructing ureteral calculus
Excretory urography (AP view; left: pre-contrast; right: 2.5 hours post-contrast)
A calcification medial to the lower pole of the right kidney on the pre-contrast radiograph is shown post-contrast to be an obstructing proximal ureteral calculus. The right kidney is enlarged, with persistent enhancement. There is pelvicaliectasis and poor contrast-filling of the right ureter. The left renal collecting system is normal.

## Slide 34: Kidney and ureteric stones
Spiral CT without contrast is the investigation of choice for detection of radiolucent stone specially in ureters.
Findings
  Calculus size , location, density , and degree of obstruction
  Hydronephrosis and/or hydroureter

## Slide 35
Abdominal CT with IV contrast (venous phase), coronal section
Hyperdense calculi located in the proximal third of the left ureter. As a result, the proximal ureter and the renal pelvis are dilated.

## Slide 36
Renal stone causing hydronephrosis
Ultrasound abdomen and pelvis
Indications:
Suspected nephrolithiasis in patients for whom radiation exposure should be minimized (e.g., pregnant patients, pediatric patients, those with recurrent stones
Findings :
Obstructive uropathy (e.g., hydronephrosis, hydroureter, perinephric fluid)
Stone: hyperechoic with acoustic shadowing
Kidney and ureteric stones>>>>
There is a round, hyperechoic lesion at the upper pole of the kidney in the renal parenchyma, which shows a dorsal acoustic shadow and is most likely a kidney stone. The central areas of the kidney show, as far as can be seen in this image, no dilation, which indicates no obstruction.

## Slide 37
Bladder calculus

## Slide 38: CT imaging of Abscesses
Focal or diffuse renal enlargement.
An abscess appears as a well-defined mass of low attenuation with a thick, irregular wall or pseudo capsule, which can be better visualized on contrast enhanced scans CECT.
Gas within a low attenuation/cystic mass strongly suggests abscess formation.

## Slide 39
Renal abscess
CT scan with intravenous contrast demonstrating multiple low attenuation fluid collections in the right renal cortex, consistent with multiple renal abscesses.

## Slide 40
Renal trauma
Blunt trauma, particularly road traffic accidents and contact sports, are the mechanisms of injury.
Loin pain and hematuria are the major presenting features.
CT is the preferred imaging investigation.
Imaging appearances:
Renal and ureteral injury:
CT with IV contrast of the abdomen/pelvis: to assess renal and accompanying injuries or intraabdominal fluid retention
Urethrocystography: if CT is unavailable
CT findings
Low-grade renal injury
e.g. Subcapsular hematoma ,parenchymal contusion & renal laceration
High-grade renal injury
Renal vein or artery injury & Shattered kidney with loss of identifiable renal anatomy

## Slide 41
Renal trauma.
(a) Axial CT demonstrating reduced perfusion in the midpole of the left kidney. Fluid is seen in the perinephric tissues.
(b) Delayed oblique sagittal reformat demonstrating contrast in the collecting system and confirming no leak of contrast.
(a)
(b)

## Slide 42
Bladder injury
Retrograde cystography or retrograde CT cystography
Cystography remains the best way of demonstrating the actual site of leakage from the bladder.
Do not perform urethrogram or cystogram if severe pelvic vascular injury is suspected! (Extravasated contrast may obscure CT or angiography, as well as prevent potentially necessary embolization of bladder arteries.)

## Slide 43
Urethral injury
Retrograde urethrogram:
To rule out suspected urethral injury
First diagnostic step (before catheterization) in a patient with suspected urethral injury.
Findings: contrast extravasation from the urethra at point of injury

## Slide 44
Rupture of the base of the bladder.
Cystogram showing extravasation of contrast into the extraperitoneal space on the left, and deformity of the bladder due to surrounding haematoma and urine. There is a fracture of the right pubic bone.

## Slide 45
Perirenal collection
Perinephric abscess. (a) CT scan showing loculated fluid (arrows) with a thick enhancing wall surrounding the left kidney.

## Slide 46: Renal simple cyst
-Simple cysts are very common in the middle-aged and elderly.
-They are filled with clear fluid with ‘acoustic enhancement’.
-Most cysts are spherical in shape. They may be solitary or multiple, unilocular or have septations.
-When the ultrasonographer is sure that the diagnosis is a simple cyst, no further investigation is needed.
-Indeterminate lesions with both cystic and solid components need further evaluation with CT..
Simple cyst in kidney on u/s and CT

## Slide 47: Renal mass
- Ultrasound can establish whether a mass is a simple cyst and can, therefore, be ignored, or whether the lesion is solid and, therefore, is likely to be a renal carcinoma.
- A mass with mixed cystic and solid features could be a renal tumour, a renal abscess, or possibly a complex benign cyst or other benign condition.
Ultrasound in renal masses.
(a) Simple cyst (C) showing sharp walls and no echoes arising within the cyst. Note the acoustic enhancement behind the cyst.
(b) Tumour showing echoes within a solid mass (M).
(c) Complex cystic mass which could be due to cystic renal cell carcinoma.

## Slide 48: Autosomal dominant polycystic kidney disease
Inherited by dominant gene.
usually presents between the ages of 35 and 55 years with hypertension, renal failure or hematuria, or following the discovery of bilaterally enlarged kidneys.
The diagnosis is readily made at ultrasound, as well as on CT.
Imaging
Ultrasound
In adults: Enlarged kidneys with multiple cysts bilaterally of varying sizes (anechoic masses)
In children: evidence of cysts in combination with a family history positive of ADPKD
Hepatic, pancreatic, and/or splenic cysts may be visible.

## Slide 49
Ultrasound kidney (longitudinal view; note that the poles of the kidney extend beyond this view)
Multiple, sharply demarcated anechoic lesions have replaced the majority of the renal parenchyma. Part of the renal sinus is still visible.
These findings are consistent with polycystic kidney disease.
Coronal T2-weighted MRI demonstrating multiple bilateral renal cysts as well as a few cysts in the liver.

## Slide 50
Advanced polycystic disease in adults. (a) CT scan, taken after intravenous contrast enhancement, showing that both kidneys are greatly enlarged and almost entirely replaced by cysts of variable size.
CT abdomen (with contrast; coronal plane)
Both kidneys are markedly enlarged and feature multiple round-to-ovoid, hypodense lesions of various sizes compatible with cysts. Some smaller cysts are present in the liver. Contrast-enhanced renal parenchyma is seen between the cysts.
The CT features are consistent with autosomal dominant polycystic kidney disease (ADPKD).
CT
Not the method of choice
Should only be used if ultrasound findings are unclear (due to the radiation exposure of CT)
Shows
Multiple cysts: usually hypodense, well-demarcated, not septated, and thin-walled
Bilateral enlargement of the kidneys

## Slide 51
Thus patient had a transplant.
What is the diagnosis

## Slide 52: Renal cell carcinoma
Most renal masses are detected incidentally on imaging performed for another indication or to evaluate nonspecific symptoms.
Preferred imaging exam: CT or MRI abdomen (with IV contrast)
CT abdomen (with IV contrast; multiphase renal protocol):
(Lesion(s) are often heterogeneous, with a combination of solid, cystic, necrotic, and/or hemorrhagic areas with thickened irregular walls, calcification, and variable enhancement.
Distorted renal outline
Axial CT of the abdomen after oral and IV contrast medium administration
A large, relatively sharply demarcated tumor can be seen in the right kidney. The CT shows a central, hypodense, necrotic area, which is surrounded by a solid, contrast enhanced, capsular region . This finding is characteristic of renal cell carcinoma.

## Slide 53
Angiomyolipoma:
Benign tumor. Complicated by hemorrhages. is a fairly frequent incidental finding at ultrasound.
Diagnostics
Abdominal ultrasound: Round, well-circumscribed, highly echogenic renal tumor often located near the renal capsule
Abdominal CT
Tumor with macroscopic fat deposits -No calcification
It has a strong association with tuberous sclerosis
Ultrasound of the right kidney.
There is a hyperechoic, sharply demarcated, round lesion that is located directly on the renal pelvis without a displacement effect on the organ. This finding is most likely an angiomyolipoma
Angiomyolipoma seen as a well-defined mass (arrows) of fat density on CT.

## Slide 54: Wilms tumor
Commonest kidney tumor in children.
Peak incidence at 3-4 years of age
85% occur before 5 years
CT : Wilms tumors are heterogeneous soft-tissue density masses with infrequent areas of calcification (~15%) . Enhancement is patchy
RT kid
LT kid

## Slide 55: Hydronephrosis
Distension and dilation of the renal pelvis and calyces.
It is usually caused by obstruction to the free flow of urine from the kidney.
If obstruction is at lower level, there is dilation of ureter and pelvis of kidney.
Untreated , initially it cause enlargement of kidney, but finally it leads to atrophy.

## Slide 56
Ultrasound and CT images of hydronephrosis
(a) CT at the corticomedullary phase of enhancement. There is obstruction of the right kidney with dilatation of the pelvicaliceal system (b) CT at the delayed phase of enhancement. Intravenous contrast is seen in the left renal pelvis but not in the obstructed right renal pelvis. (c) CT through the dilated right ureter , in the same patient as (a) and (b).
(a)
(b)
(c)

## Slide 57
Urethral strictures i
Urethral stricture. An ascending urethrogram showing a stricture in the penile urethra (arrow). The patient had gonorrhoea.

## Slide 59
References
Diagnostic Imaging by Andrea G. Rockall, 7th edition

## Slide 60
Diagnosis: CT show LT Renal stone
Renal stone on ultrasound

## Slide 61
Middle age male patient presents with painless hematuria and weight loss.
CT and ultrasound show mass lesion in left kidney
Diagnosis: renal cell carcinoma

## Slide 62
Young male patient involved in a motor vehicle accident with blunt trauma to the abdomen.
CT show ruptured RT kidney